## Test Method Master
Lab Department | Test Method | Test Method Sub-group | Invoice Case | Test Charges (₹) | Sample Size Required
Chemical Lab | Assay Check | Assay Check
Chemical Lab | ICP-OES Special | ICP-OES Special | 1 Element / 2 Element / 3 Element / 4 Element / 5 Element / 6 Element / 7 Element / 8 Element / 9 Element / 10 Element / 11 Element / 12 Element / 13 Element / 14 Element / 15 Element / 16 Element / 17 Element / 18 Element / 19 Element / 20 Element
Chemical Lab | ICP-OES Super Special | ICP-OES Super Special | Ag, Au, Pt, Ir, Pd, Se, Rh, Te
Chemical Lab | Metal Chemical Analysis (WET + ICP) | Metal Chemical Analysis (WET + ICP) | 1 Element / 2 Element / 3 Element / 4 Element / 5 Element / 6 Element / 7 Element / 8 Element / 9 Element / 10 Element / 11 Element / 12 Element / 13 Element / 14 Element / 15 Element / 16 Element / 17 Element / 18 Element / 19 Element / 20 Element
Chemical Lab | Moisture Content | Moisture Content
Chemical Lab | ROHS Test | ROHS Test | 1 Element / 2 Element / 3 Element / 4 Element / 5 Element / 6 Element
Coatings & Thin-Film Lab | Cathodic Disbondment Test | Cathodic Disbondment Test | 24hr@RT / 24hr@HT / 28days@RT / 28days@HT
Coatings & Thin-Film Lab | Gel Time Test | Gel Time Test
Coatings & Thin-Film Lab | Melt Flow Rate Index | Melt Flow Rate Index
Coatings & Thin-Film Lab | Shore D Hardness Test | Shore D Hardness Test
Coatings & Thin-Film Lab | Vicat Softening Point | Vicat Softening Point
Coatings & Thin-Film Lab | Water Absorption Test | Water Absorption Test
Corrosion Lab | Ammonia Stress Corrosion Cracking | Ammonia Stress Corrosion Cracking
Corrosion Lab | ASTM A967 Chemical Passivation Treatment for SS (Practice C) Salt Spray Test | ASTM A967 Chemical Passivation Treatment for SS (Practice C) Salt Spray Test
Corrosion Lab | ASTM A967 Chemical Passivation Treatment for SS (Practice D) Copper Sulphate Test | ASTM A967 Chemical Passivation Treatment for SS (Practice D) Copper Sulphate Test
Corrosion Lab | Dezincification Test | Dezincification Test
Corrosion Lab | Diffusible Hydrogen Test | Diffusible Hydrogen Test
Corrosion Lab | Ferroxyl Test for Free Iron | Ferroxyl Test for Free Iron
Corrosion Lab | G123 Stress Corrosion Cracking in Boiling Acidified Sodium Chloride (Stainless Alloys) | G123 Stress Corrosion Cracking in Boiling Acidified Sodium Chloride (Stainless Alloys)
Corrosion Lab | G31 Immersion Corrosion Test | G31 Immersion Corrosion Test
Corrosion Lab | G36 Chloride Stress Corrosion Cracking | G36 Chloride Stress Corrosion Cracking
Corrosion Lab | G46 Pitting Corrosion Evaluation | G46 Pitting Corrosion Evaluation
Corrosion Lab | G47 Stress Corrosion Cracking (2XXX & 7XXX Al Alloys) | G47 Stress Corrosion Cracking (2XXX & 7XXX Al Alloys)
Corrosion Lab | G48 Pitting & Crevice Corrosion Test | G48 (Method A) Ferric Chloride Pitting Test
Corrosion Lab | G48 Pitting & Crevice Corrosion Test | G48 (Method B) Ferric Chloride Crevice Test
Corrosion Lab | G48 Pitting & Crevice Corrosion Test | G48 (Method C) Critical Pitting Temperature Test (Ni-Cr Alloys)
Corrosion Lab | G48 Pitting & Crevice Corrosion Test | G48 (Method D) Critical Crevice Temperature Test (Ni-Cr Alloys)
Corrosion Lab | G48 Pitting & Crevice Corrosion Test | G48 (Method E) Critical Pitting Temperature Test (SS)
Corrosion Lab | G48 Pitting & Crevice Corrosion Test | G48 (Method F) Critical Crevice Temperature Test (SS)
Corrosion Lab | HIC Hydrogen Induced Cracking (NACE TM0284) | HIC Hydrogen Induced Cracking (NACE TM0284)
Corrosion Lab | IGC Test | IGC A262 (Practice A) Oxalic Acid Etch Test (Austenite SS)
Corrosion Lab | IGC Test | IGC A262 (Practice B) FeSO4 - H2SO4 Test (Austenite SS)
Corrosion Lab | IGC Test | IGC A262 (Practice C) HNO3 Test (Austenite SS)
Corrosion Lab | IGC Test | IGC A262 (Practice E) Cu - CuSO4 H2SO4 Test (Austenite SS) | With Photograph / Without Photograph
Corrosion Lab | IGC Test | IGC A262 (Practice F) Cu - CuSO4 50% H2SO4 Test (Austenite SS)
Corrosion Lab | IGC Test | IGC A763 (Practice W) Oxalic Acid Etch Test (Ferrite SS)
Corrosion Lab | IGC Test | IGC A763 (Practice X) FeSO4 - H2SO4 (Ferrite SS) | 24 Hrs / 72 Hrs / 120 Hrs
Corrosion Lab | IGC Test | IGC A763 (Practice Y) Cu - CuSO4 50% H2SO4 Test (Ferrite SS) | 96 Hrs / 120 Hrs
Corrosion Lab | IGC Test | IGC A763 (Practice Z) Cu - CuSO4 16% H2SO4 Test (Ferrite SS)
Corrosion Lab | IGC Test | IGC G28 (Method A) FeSO4 H2SO4 Test (Ni-Cr Alloy)
Corrosion Lab | IGC Test | IGC G28 (Method B) Mixed Acid Oxidizing Salt Test (Ni-Cr Alloy)
Corrosion Lab | IGC Test | IGC G67 Nitric Acid Mass Loss Test (5XXX Al Alloys)
Corrosion Lab | IGC Test | IGC IS 10461-1 Nitric Acid Mass Loss (Huey Test) (Austenite SS)
Corrosion Lab | IGC Test | IGC IS 10461-2 Cu - CuSO4 H2SO4 Test (Moneypenny Strauss) (Austenite SS)
Corrosion Lab | IGC Test | IGC ISO 3651-1 Nitric Acid Mass Loss (Huey Test) (Austenite and Duplex SS)
Corrosion Lab | IGC Test | IGC ISO 3651-2 (Method A) 16% H2SO4 CuSO4 Test (Ferrite, Austenite & Duplex SS)
Corrosion Lab | IGC Test | IGC ISO 3651-2 (Method B) 35% H2SO4 CuSO4 Test (Ferrite, Austenite & Duplex SS)
Corrosion Lab | IGC Test | IGC ISO 3651-2 (Method C) 40% H2SO4 CuSO4 Test (Ferrite, Austenite & Duplex SS)
Corrosion Lab | IGC Test | IGC ISO 3651-3 (Low Cr Ferritic SS)
Corrosion Lab | IGC Test | IGC ISO 9400 (Method A) FeSO4 H2SO4 Test (Ni Alloys)
Corrosion Lab | IGC Test | IGC ISO 9400 (Method B) Cu - CuSO4 16% H2SO4 Test (Ni Alloys)
Corrosion Lab | IGC Test | IGC ISO 9400 (Method C) HCL Test (Ni Alloys)
Corrosion Lab | IGC Test | IGC ISO 9400 (Method D) HNO3 Test (Ni Alloys)
Corrosion Lab | Intermetallic Phase Detection | ASTM A1084 (Method A) Etch Test (Duplex SS)
Corrosion Lab | Intermetallic Phase Detection | ASTM A1084 (Method C) Ferric Chloride Corrosion Test (Duplex SS)
Corrosion Lab | Intermetallic Phase Detection | ASTM A923 (Method A) NaOH Etch Test (Duplex SS)
Corrosion Lab | Intermetallic Phase Detection | ASTM A923 (Method C) Ferric Chloride Corrosion Test (Duplex SS)
Corrosion Lab | Intermetallic Phase Detection | ISO 17781 Microstructural Examination
Corrosion Lab | Mercurous Nitrate Test | Mercurous Nitrate Test
Corrosion Lab | Salt Spray Test | Salt Spray Test
Corrosion Lab | SSC Sulphide Stress Corrosion (NACE TM0177) | SSC Sulphide Stress Corrosion (NACE TM0177)
Corrosion Lab | Weld Decay Test | Weld Decay Test
Mechanical Department | Adhesion Test | Adhesion Test (Bend Method)
Mechanical Department | Adhesion Test | Adhesion Test (Cross - Hatch Method)
Mechanical Department | Adhesion Test | Adhesion Test (Dolly Test)
Mechanical Department | Bend Test | Bend + Rebend Test (TMT) | 10, 12mm / 16, 20mm / 25, 28mm / 32mm / 36mm / 40mm / 45mm
Mechanical Department | Bend Test | Bend Test (Flat) | <25mm / 25mm to 50mm
Mechanical Department | Bend Test | Bend Test (Pipe) | <25mm / 25mm to 50mm
Mechanical Department | Bend Test | Bend Test (Round) | <25mm / 25mm to 50mm
Mechanical Department | Bend Test | Bend Test (TMT) | 10, 12mm / 16, 20mm / 25, 28mm / 32mm / 36mm / 40mm / 45mm
Mechanical Department | Bend Test | Bend Test (Weld) | <25mm / 25mm to 50mm
Mechanical Department | Bolt / Stud Proof Load Test | Bolt / Stud Proof Load Test | Up to 600KN / 601KN to 1000KN / Above 1000KN
Mechanical Department | Bolt Wedge Load / Tensile Test | Bolt Wedge Load / Tensile Test
Mechanical Department | Charpy Impact Test | Charpy Impact Test (3 pcs) (ASTM) | ASTM@RT / ASTM@0°C / ASTM@-1to-50°C / ASTM@-51to-196°C
Mechanical Department | Charpy Impact Test | Charpy Impact Test (3 pcs) (IS/ISO) | IS@RT / IS@0°C / IS@-1to-50°C / IS@-51to-196°C
Mechanical Department | Charpy Impact Test | Charpy Impact Test (Multiple) (ASTM) | ASTM@RT / ASTM@0°C / ASTM@-1to-50°C / ASTM@-51to-196°C
Mechanical Department | Charpy Impact Test | Charpy Impact Test (Multiple) (IS/ISO) | IS@RT / IS@0°C / IS@-1to-50°C / IS@-51to-196°C
Mechanical Department | Compression Test | Compression Test | Up to 600KN / 601KN to 1000KN / Above 1000KN
Mechanical Department | Dimensional Analysis | Component Dimensional Analysis
Mechanical Department | Dimensional Analysis | Dimensional Analysis (Strain Wire)
Mechanical Department | Dimensional Analysis | Surface Roughness Test
Mechanical Department | Erichsen Cupping Test | Erichsen Cupping Test
Mechanical Department | Hardness Test | Hardness Test | Single Point / Multi Point
Mechanical Department | Hardness Test | RDSO Hardness
Mechanical Department | Intermetallic Phase Detection | ASTM A1084 (Method B) Charpy V-Notch Impact Test (Duplex SS)
Mechanical Department | Intermetallic Phase Detection | ASTM A923 (Method B) Charpy V-Notch Impact Test (Duplex SS)
Mechanical Department | IS 3063 Permanent Load Test (Spring Lock Washer) | IS 3063 Permanent Load Test (Spring Lock Washer)
Mechanical Department | IS 3063 Permanent Set Test (Spring Lock Washer) | IS 3063 Permanent Set Test (Spring Lock Washer)
Mechanical Department | Izod Impact Test | Izod Impact Test (ASTM)
Mechanical Department | Izod Impact Test | Izod Impact Test (IS/ISO)
Mechanical Department | Knife Test | Knife Test
Mechanical Department | Load Test / Fracture Test | Load Test / Fracture Test | Up to 600KN / 601KN to 1000KN / Above 1000KN
Mechanical Department | Nick Break Test | Nick Break Test
Mechanical Department | Nut Proof Load Test | Nut Proof Load Test | Up to 600KN / 601KN to 1000KN / Above 1000KN
Mechanical Department | Pipe Crush Test | Pipe Crush Test
Mechanical Department | Pipe Drift Expansion / Flaring Test | Drift Expansion / Flaring Test
Mechanical Department | Pipe Flanging Test | Pipe Flanging Test
Mechanical Department | Pipe Flattening Test | Pipe Flattening Test
Mechanical Department | Pipe Reverse Flattening Test | Pipe Reverse Flattening Test
Mechanical Department | Pull Out Test | Pull Out Test
Mechanical Department | Shear Load Test | Shear Load Test
Mechanical Department | Slip Test (TMT Coupler) | Slip Test (TMT Coupler)
Mechanical Department | SS Bolt Tensile Testing | SS Bolt Tensile Testing
Mechanical Department | Stress Relaxation Test (Strain Wire) | Stress Relaxation Test (Strain Wire) | 100 Hrs / 1000 Hrs
Mechanical Department | Tear Test | Tear Test
Mechanical Department | Tensile Test | Hot Tensile
Mechanical Department | Tensile Test | Ring Tensile
Mechanical Department | Tensile Test | Tensile Test (Flat / Round) | Up to 600KN / 601KN to 1000KN / Above 1000KN
Mechanical Department | Tensile Test | Tensile Test (Pipe) | Up to 600KN / 601KN to 1000KN / Above 1000KN
Mechanical Department | Tensile Test | Tensile Test (Strain Wire)
Mechanical Department | Tensile Test | Tensile Test (TMT Coupler) | 10, 12mm / 16, 20mm / 25, 28mm / 32mm / 36mm / 40mm / 45mm
Mechanical Department | Tensile Test | Tensile Test (TMT) | 10, 12mm / 16, 20mm / 25, 28mm / 32mm / 36mm / 40mm / 45mm
Mechanical Department | Tensile Test | Tensile Test (Weld Plate) | Up to 600KN / 601KN to 1000KN / Above 1000KN
Mechanical Department | T-Joint Fracture Test | T-Joint Fracture Test
Metallurgy Department | Carbon Film Test | Carbon Film Test
Metallurgy Department | Case Depth Measurement (Microscopic Method) | Case Depth Measurement (Microscopic Method)
Metallurgy Department | Coating Thickness | Coating Thickness (Dualscope Method)
Metallurgy Department | Coating Thickness | Coating Thickness (Microscopic C/S Method)
Metallurgy Department | Coating Thickness | Coating Thickness (Strip off Method)
Metallurgy Department | Coating Thickness | Coating Uniformity Test
Metallurgy Department | Density & Specific Gravity Test | Density & Specific Gravity Test
Metallurgy Department | Dimensional Analysis | Density Analysis
Metallurgy Department | Dimensional Analysis | TMT Rib Area Analysis
Metallurgy Department | Effective Case Depth Measurement (Microhardness Method) | Effective Case Depth Measurement (Microhardness Method)
Metallurgy Department | Ferrite Content (Ferritoscope Method) | Ferrite Content (Ferritoscope Method)
Metallurgy Department | Grain Size Measurement | Grain Size Measurement (Comparison Method)
Metallurgy Department | Grain Size Measurement | Grain Size Measurement (Hilliard Method)
Metallurgy Department | Grain Size Measurement | Grain Size Measurement (Intercept Method)
Metallurgy Department | Holiday Detector Test | Holiday Detector Test
Metallurgy Department | Inclusion Content Analysis | Inclusion Content Analysis | E45 Method A / E45 Method D / ISO 643
Metallurgy Department | Macro Examination | Macro Etch Test (Fillet Weld)
Metallurgy Department | Macro Examination | Macro Etch Test (Tube to Tube-Sheet Joint)
Metallurgy Department | Macro Examination | Macroscopic Examination
Metallurgy Department | Microhardness Testing (Vickers / Knoop) | Microhardness Testing (Vickers / Knoop) | Single Point / Multi Point
Metallurgy Department | Microstructure + Grain Size Measurement | Microstructure + Grain Size Measurement
Metallurgy Department | Microstructure Examination | Microstructure Examination
Metallurgy Department | Microstructure Examination (Cast Iron) | Microstructure Examination (Cast Iron) (Manual Method)
Metallurgy Department | Microstructure Examination (Cast Iron) | Microstructure Examination (Cast Iron) (Image Analyzer)
Metallurgy Department | Pencil Hardness Test | Pencil Hardness Test
Metallurgy Department | Phase Volume Fraction (Grid Method / Manual Point Count) | Phase Volume Fraction (Grid Method / Manual Point Count)
Metallurgy Department | Phase Volume Fraction (Image Analyzer / Colour Separation) | Phase Volume Fraction (Image Analyzer / Colour Separation) | 5 Field / 10 Field / 15 Field / 30 Field
Metallurgy Department | Wrapping Test | Wrapping Test
Others | PU Foam Chloride + pH Test | PU Foam Chloride + pH Test
Others | PU Foam Compression Test | PU Foam Compression Test
Others | PU Foam Liquid Immersion Test | PU Foam Liquid Immersion Test
Others | PU Foam Tensile Test | PU Foam Tensile Test
Spectro Lab | Fe Spectro | Fe Spectro 1 Element
Spectro Lab | Fe Spectro | Fe Spectro 2 Element
Spectro Lab | Fe Spectro | Fe Spectro 3 Element
Spectro Lab | Fe Spectro | Fe Spectro full | Full / Full + N / Full + B / Full + Ca / Full + N + B / Full + N + Ca / Full + B + Ca / Full + B + N + Ca
Spectro Lab | Non-Fe Spectro | Co Spectro full
Spectro Lab | Non-Fe Spectro | Metal Purity check (Assay Check)
Spectro Lab | Non-Fe Spectro | Non-Fe Spectro 1 Element
Spectro Lab | Non-Fe Spectro | Non-Fe Spectro 2 Element
Spectro Lab | Non-Fe Spectro | Non-Fe Spectro 3 Element
Spectro Lab | Non-Fe Spectro | Non-Fe Spectro full | Full / Full + N / Full + B / Full + Ca / Full + N + B / Full + N + Ca / Full + B + Ca / Full + B + N + Ca

## Test Method Standard Master
Test Method Sub-group | Test Method Standard | Year | Under NABL | Group | Sub-Group | Qualitative / Quantitative | Parameters | Parameter Units | Equipment Name | Equipment Id
Assay Check
ICP-OES Special
ICP-OES Super Special
Metal Chemical Analysis (WET + ICP)
Moisture Content
ROHS Test
Cathodic Disbondment Test | ASTM G8 | 1996 | Yes | Mechanical | Paints & Surface Coating | Quantitative
Cathodic Disbondment Test | ISO 21809: 1 | 2018 | Yes | Mechanical | Paints & Surface Coating | Quantitative
Cathodic Disbondment Test | BS 3900-F10 | 1985 | Yes | Mechanical | Paints & Surface Coating | Quantitative
Cathodic Disbondment Test | BS 3900-F11 | 1985 | Yes | Mechanical | Paints & Surface Coating | Quantitative
Gel Time Test | ISO 21809: 1 | 2018 | Yes | Mechanical | Paints & Surface Coating | Qualitative
Melt Flow Rate Index | ASTM D1238 | 2023 | No | Mechanical | Paints & Surface Coating | Qualitative
Melt Flow Rate Index | ISO 1133: 1 | 2022 | No | Mechanical | Paints & Surface Coating | Qualitative
Shore D Hardness Test | ISO 868 | 2003 | Yes | Mechanical | Paints & Surface Coating | Quantitative
Vicat Softening Point | ASTM D1525 | 2017 | No | Mechanical | Paints & Surface Coating | Qualitative
Vicat Softening Point | ISO 306 | 2022 | No | Mechanical | Paints & Surface Coating | Qualitative
Water Absorption Test | ASTM D570 | 2023 | No | Mechanical | Paints & Surface Coating | Qualitative
Water/ Moisture Content | ISO 21809: 1 | 2018 | No | Mechanical | Paints & Surface Coating | Qualitative
Ammonia Stress Corrosion Cracking | ASTM B858 | 2006 | Yes | Chemical | Corrosion | Qualitative
Ammonia Stress Corrosion Cracking | ISO 6957 | 1988 | Yes | Chemical | Corrosion | Qualitative
ASTM A967 Chemical Passivation Treatment for SS (Practice C) Salt Spray Test | ASTM A967 | 2017 | No | Chemical | Corrosion | Qualitative
ASTM A967 Chemical Passivation Treatment for SS (Practice D) Copper Sulphate Test | ASTM A967 | 2017 | No | Chemical | Corrosion | Qualitative
Dezincification Test | ISO 6509 Part-1 | 2014 | Yes | Chemical | Corrosion | Qualitative | Maximum Depth of Dezincification | μm
Dezincification Test | ISO 6509 Part-1 | 2014 | Yes | Chemical | Corrosion | Qualitative | Average Depth of Dezincification | μm
Diffusible Hydrogen Test | AWS A4.3 | 1997 | Yes | Chemical | Metals & Alloys | Quantitative
Ferroxyl Test for Free Iron | ASTM A380 | 2017 | No | Chemical | Corrosion | Qualitative | Surface Iron Contamination | N/A
G123 Stress Corrosion Cracking in Boiling Acidified Sodium Chloride (Stainless Alloys) | ASTM G123 | 2000 | No | Chemical | Corrosion | Qualitative
G31 Immersion Corrosion Test | ASTM G31 | 2021 | No | Chemical | Corrosion | Quantitative
G36 Chloride Stress Corrosion Cracking | ASTM G36 | 1994 | Yes | Chemical | Corrosion | Qualitative
G46 Pitting Corrosion Evaluation | ASTM G46 | 2021 | No | Chemical | Corrosion | Qualitative
G47 Stress Corrosion Cracking (2XXX & 7XXX Al Alloys) | ASTM G47 | 2022 | No | Chemical | Corrosion | Qualitative
G48 (Method A) Ferric Chloride Pitting Test | ASTM G48 | 2011 | Yes | Chemical | Corrosion | Quantitative
G48 (Method B) Ferric Chloride Crevice Test | ASTM G48 | 2011 | Yes | Chemical | Corrosion | Quantitative
G48 (Method C) Critical Pitting Temperature Test (Ni-Cr Alloys) | ASTM G48 | 2011 | Yes | Chemical | Corrosion | Qualitative
G48 (Method D) Critical Crevice Temperature Test (Ni-Cr Alloys) | ASTM G48 | 2011 | Yes | Chemical | Corrosion | Quantitative
G48 (Method E) Critical Pitting Temperature Test (SS) | ASTM G48 | 2011 | Yes | Chemical | Corrosion | Qualitative
G48 (Method F) Critical Crevice Temperature Test (SS) | ASTM G48 | 2011 | Yes | Chemical | Corrosion | Qualitative
HIC Hydrogen Induced Cracking (NACE TM0284) | NACE TM0284 | 2016 | Yes | Chemical | Corrosion | Qualitative
IGC A262 (Practice A) Oxalic Acid Etch Test (Austenite SS) | ASTM A262 | 2015 | Yes | Chemical | Corrosion | Qualitative
IGC A262 (Practice B) FeSO4 - H2SO4 Test (Austenite SS) | ASTM A262 | 2015 | Yes | Chemical | Corrosion | Quantitative
IGC A262 (Practice C) HNO3 Test (Austenite SS) | ASTM A262 | 2015 | Yes | Chemical | Corrosion | Quantitative
IGC A262 (Practice E) Cu - CuSO4 H2SO4 Test (Austenite SS) | ASTM A262 | 2015 | Yes | Chemical | Corrosion | Qualitative
IGC A262 (Practice F) Cu - CuSO4 50% H2SO4 Test (Austenite SS) | ASTM A262 | 2015 | Yes | Chemical | Corrosion | Quantitative
IGC A763 (Practice W) Oxalic Acid Etch Test (Ferrite SS) | ASTM A763 | 2015 | Yes | Chemical | Corrosion | Qualitative
IGC A763 (Practice X) FeSO4 - H2SO4 (Ferrite SS) | ASTM A763 | 2015 | Yes | Chemical | Corrosion | Qualitative
IGC A763 (Practice Y) Cu - CuSO4 50% H2SO4 Test (Ferrite SS) | ASTM A763 | 2015 | Yes | Chemical | Corrosion | Qualitative
IGC A763 (Practice Z) Cu - CuSO4 16% H2SO4 Test (Ferrite SS) | ASTM A763 | 2015 | Yes | Chemical | Corrosion | Qualitative
IGC G28 (Method A) FeSO4 H2SO4 Test (Ni-Cr Alloy) | ASTM G28 | 2022 | Yes | Chemical | Corrosion | Quantitative
IGC G28 (Method B) Mixed Acid Oxidizing Salt Test (Ni-Cr Alloy) | ASTM G28 | 2022 | Yes | Chemical | Corrosion | Quantitative
IGC G67 Nitric Acid Mass Loss Test (5XXX Al Alloys) | ASTM G67 | 2024 | No | Chemical | Corrosion | Qualitative
IGC IS 10461-1 Nitric Acid Mass Loss (Huey Test) (Austenite SS) | IS 10461 Part-1 | 1994 | Yes | Chemical | Corrosion | Qualitative
IGC IS 10461-2 Cu - CuSO4 H2SO4 Test (Moneypenny Strauss) (Austenite SS) | IS 10461 Part-2 | 1994 | No | Chemical | Corrosion | Qualitative
IGC ISO 3651-1 Nitric Acid Mass Loss (Huey Test) (Austenite and Duplex SS) | ISO 3651 Part-1 | 1998 | Yes | Chemical | Corrosion | Quantitative
IGC ISO 3651-2 (Method A) 16% H2SO4 CuSO4 Test (Ferrite, Austenite & Duplex SS) | ISO 3651 Part-2 | 1998 | Yes | Chemical | Corrosion | Qualitative
IGC ISO 3651-2 (Method B) 35% H2SO4 CuSO4 Test (Ferrite, Austenite & Duplex SS) | ISO 3651 Part-2 | 1998 | Yes | Chemical | Corrosion | Qualitative
IGC ISO 3651-2 (Method C) 40% H2SO4 CuSO4 Test (Ferrite, Austenite & Duplex SS) | ISO 3651 Part-2 | 1998 | Yes | Chemical | Corrosion | Qualitative
IGC ISO 3651-3 (Low Cr Ferritic SS) | ISO 3651 Part-3 | 2017 | Yes | Chemical | Corrosion | Qualitative
IGC ISO 9400 (Method A) FeSO4 H2SO4 Test (Ni Alloys) | ISO 9400 | 1990 | No | Chemical | Corrosion | Qualitative
IGC ISO 9400 (Method B) Cu - CuSO4 16% H2SO4 Test (Ni Alloys) | ISO 9400 | 1990 | No | Chemical | Corrosion | Qualitative
IGC ISO 9400 (Method C) HCL Test (Ni Alloys) | ISO 9400 | 1990 | No | Chemical | Corrosion | Qualitative
IGC ISO 9400 (Method D) HNO3 Test (Ni Alloys) | ISO 9400 | 1990 | No | Chemical | Corrosion | Qualitative
ASTM A1084 (Method A) Etch Test (Duplex SS) | ASTM A1084 | 2015 | No | Chemical | Corrosion | Qualitative
ASTM A1084 (Method C) Ferric Chloride Corrosion Test (Duplex SS) | ASTM A1084 | 2015 | No | Chemical | Corrosion | Quantitative
ASTM A923 (Method A) NaOH Etch Test (Duplex SS) | ASTM A923 | 2023 | Yes | Chemical | Corrosion | Qualitative
ASTM A923 (Method C) Ferric Chloride Corrosion Test (Duplex SS) | ASTM A923 | 2023 | Yes | Chemical | Corrosion | Qualitative
ISO 17781 Microstructural Examination | ISO 17781 | 2017 | No | Chemical | Corrosion | Qualitative
Mercurous Nitrate Test | ASTM B154 | 2016 | Yes | Chemical | Corrosion | Qualitative
Mercurous Nitrate Test | ISO 196 | 1978 | Yes | Chemical | Corrosion | Qualitative
Mercurous Nitrate Test | IS 2305 | 1988 | Yes | Chemical | Corrosion | Qualitative
Salt Spray Test | ASTM B117 | 2019 | Yes | Chemical | Corrosion | Qualitative
Salt Spray Test | IS 9844 | 1981 | Yes | Chemical | Corrosion | Qualitative
Salt Spray Test | ISO 9227 | 2022 | Yes | Chemical | Corrosion | Qualitative
SSC Sulphide Stress Corrosion (NACE TM0177) | NACE TM0177 | 2016 | Yes | Chemical | Corrosion | Qualitative
Weld Decay Test | ASTM A249 | 2018 | Yes | Chemical | Corrosion | Qualitative
Adhesion Test (Bend Method) | IS 13620 | 1993 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Adhesion Test (Cross - Hatch Method) | ASTM D3359 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Adhesion Test (Cross - Hatch Method) | IS 14246 | 2013 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Adhesion Test (Dolly Test) | ISO 4624 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Adhesion Test (Dolly Test) | ASTM D4541 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Bend + Rebend Test (TMT) | IS 1599 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend + Rebend Test (TMT) | IS 1786 | 2008 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend + Rebend Test (TMT) | ISO 15630 Part-1 | 2019 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Flat) | IS 14246 | 2013 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Flat) | IS 1599 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Flat) | ASTM E290 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Flat) | IS 14246 | 2013 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Flat) | ISO 7438 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Flat) | IBR | 1950 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Flat) | ASTM A370 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Pipe) | IS 2329 | 2005 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Pipe) | BS EN ISO 8491 | 2004 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Pipe) | ASTM A370 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Pipe) | ASTM A106 | 2018 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Pipe) | ASME B36.10 | 2018 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Round) | ASTM A370 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (TMT) | IS 1599 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Weld) | IBR | 1950 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Weld) | AWS D1.5 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Weld) | IS 3600 Part-5 | 2018 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Weld) | IS 3600 Part-7 | 1985 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Weld) | IS 7307-1 | 1974 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Weld) | IS 7310-1 | 2019 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Weld) | AWS D1.6 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Weld) | AWS D1.1 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Weld) | ASTM E190 | 2021 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Weld) | BS EN ISO 5173 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Weld) | AWS B4.0 | 2021 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Weld) | ASTM A106 | 2018 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Weld) | ASME B36.10 | 2018 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Weld) | IS 9417 | 2018 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bend Test (Weld) | ASME BPVC Sec IX | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Bolt / Stud Proof Load Test | ASTM F606 | 2021 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Bolt Wedge Load / Tensile Test | ASTM F606 | 2021 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Bolt Wedge Load / Tensile Test | ASTM A370 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Charpy Impact Test (3 pcs) (ASTM) | ASTM A327 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Charpy Impact Test (3 pcs) (ASTM) | ASTM E23 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Charpy Impact Test (3 pcs) (ASTM) | API 1104 | 2021 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Charpy Impact Test (3 pcs) (ASTM) | ASTM A370 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Charpy Impact Test (3 pcs) (IS/ISO) | IS 1598 | 1977 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Charpy Impact Test (3 pcs) (IS/ISO) | IS 1757-1 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Charpy Impact Test (3 pcs) (IS/ISO) | ISO 148 Part-1 | 2016 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Charpy Impact Test (3 pcs) (IS/ISO) | ISO 9016 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Charpy Impact Test (3 pcs) (IS/ISO) | IS 3600 Part-2 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Charpy Impact Test (Multiple) (ASTM) | ASTM A327 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Charpy Impact Test (Multiple) (ASTM) | ASTM E23 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Charpy Impact Test (Multiple) (ASTM) | API 1104 | 2021 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Charpy Impact Test (Multiple) (ASTM) | ASTM A370 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Charpy Impact Test (Multiple) (IS/ISO) | IS 1598 | 1977 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Charpy Impact Test (Multiple) (IS/ISO) | IS 1757-1 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Charpy Impact Test (Multiple) (IS/ISO) | ISO 148 Part-1 | 2016 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Charpy Impact Test (Multiple) (IS/ISO) | ISO 9016 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Charpy Impact Test (3 pcs) (IS/ISO) | IS 3600 Part-2 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Compression Test | ASTM A370 | 2023 | No | Mechanical | Mechanical Properties of Metals | Quantitative
Component Dimensional Analysis | ASTM A370 | 2023 | No | Mechanical | Mechanical Properties of Metals | Quantitative
Dimensional Analysis (Strain Wire) | IS 1608-1 | 2022 | No | Mechanical | Mechanical Properties of Metals | Quantitative
Surface Roughness Test | IS 3073 | 1967 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Surface Roughness Test | ASTM D4417 | 2021 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Surface Roughness Test | ISO 3274 | 1996 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Erichsen Cupping Test | IS 10175 | 2018 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Erichsen Cupping Test | ISO 20482 | 2013 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Hardness Test | ASTM E140 | 2019 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Hardness Test | ASTM E18 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hardness Test | ISO 6508-1 | 2016 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hardness Test | IS 1586-1 | 2018 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hardness Test | ASTM E18 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hardness Test | API 1104 | 2021 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hardness Test | ASTM E10 | 2018 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hardness Test | IS 1500-1&4 | 2019 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hardness Test | IS 1501-1&4 | 2013 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hardness Test | ISO 6506-1&4 | 2014 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hardness Test | ISO 6507-1&4 | 2005 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hardness Test | IS 4258 | 2018 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Hardness Test | ISO 18265 | 2013 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Hardness Test | ASTM E92 | 2017 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hardness Test | ISO 6507-1&4 | 2005 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hardness Test | IS 12783 | 1989 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hardness Test | ISO 14271 | 2017 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hardness Test | ASTM A370 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hardness Test | AWS D1.6 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hardness Test | AWS D1.5 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hardness Test | AWS D1.1 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hardness Test | ISO 9015-1 | 2001 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hardness Test | AWS B4.0 | 2021 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
RDSO Hardness
ASTM A1084 (Method B) Charpy V-Notch Impact Test (Duplex SS) | ASTM A1084 | 2015 | No | Chemical | Corrosion | Qualitative
ASTM A923 (Method B) Charpy V-Notch Impact Test (Duplex SS) | ASTM A923 | 2023 | No | Chemical | Corrosion | Qualitative
IS 3063 Permanent Load Test (Spring Lock Washer) | IS 3063 | 2021 | No | Mechanical | Mechanical Properties of Metals | Quantitative
IS 3063 Permanent Set Test (Spring Lock Washer) | IS 3063 | 2021 | No | Mechanical | Mechanical Properties of Metals | Quantitative
Izod Impact Test (IS/ISO) | IS 1757-1 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Izod Impact Test (IS/ISO) | IS 1598 | 1977 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Knife Test | ISO 10684 | 2004 | No | Mechanical | Mechanical Properties of Metals | Qualitative
Load Test / Fracture Test | AWS D1.5 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Load Test / Fracture Test | AWS D1.6 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Load Test / Fracture Test | AWS D1.1 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Load Test / Fracture Test | AWS B4.0 | 2021 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Load Test / Fracture Test | IS 3600 Part-8 | 1985 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Load Test / Fracture Test | IS 7307-1 | 1974 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Load Test / Fracture Test | IS 7310-1 | 2019 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Load Test / Fracture Test | ASME BPVC Sec IX | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Nick Break Test | API 1104 | 2021 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Nick Break Test | IS 3600 Part-8 | 1985 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Nick Break Test | IBR | 1950 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Nut Proof Load Test | IS 1367-6 | 2018 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Nut Proof Load Test | ASTM F606 | 2021 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Nut Proof Load Test | ISO 898-2 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Nut Proof Load Test | ASTM A370 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Pipe Crush Test | ASTM A370 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Drift Expansion / Flaring Test | IBR | 1950 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Drift Expansion / Flaring Test | IS 2335 | 2005 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Drift Expansion / Flaring Test | ISO 8493 | 1998 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Drift Expansion / Flaring Test | ASTM A1016 | 2018 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Drift Expansion / Flaring Test | ASTM A370 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Pipe Flanging Test | ISO 8494 | 2013 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Pipe Flanging Test | ASTM A1016 | 2018 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Pipe Flattening Test | IBR | 1950 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Pipe Flattening Test | IS 2328 | 2018 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Pipe Flattening Test | ISO 8492 | 2013 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Pipe Flattening Test | ASTM A370 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Pipe Flattening Test | ASTM A1016 | 2018 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Pipe Reverse Flattening Test | ASTM A370 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Pull Out Test | ASME BPVC Sec-VIII Div-I Appendix-A | 2021 | No | Mechanical | Mechanical Properties of Metals | Quantitative
Shear Load Test | ASTM A370 | 2023 | No | Mechanical | Mechanical Properties of Metals | Quantitative
Slip Test (TMT Coupler) | IS 16172 | 2014 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Slip Test (TMT Coupler) | ISO 15835-2 | 2019 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
SS Bolt Tensile Testing
Stress Relaxation Test (Strain Wire) | ASTM E328 | 2021 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Stress Relaxation Test (Strain Wire) | ASTM A1061 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Stress Relaxation Test (Strain Wire) | IS 14268 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tear Test
Hot Tensile | ASTM E21 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hot Tensile | IS 1608-2 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Hot Tensile | ISO 6892-2 | 2018 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Ring Tensile | ISO 8496 | 2013 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Flat / Round) | IS 1608-1 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Flat / Round) | ASTM F606 | 2021 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Flat / Round) | IS 10810-2 | 1984 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Flat / Round) | IS 1367-3 | 2017 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Flat / Round) | ISO 898-1 | 2013 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Flat / Round) | AWS D1.5 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Flat / Round) | API 1104 | 2021 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Flat / Round) | ASTM E345 | 2016 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Flat / Round) | ASTM E8 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Flat / Round) | IBR | 1950 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Flat / Round) | ASTM A370 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Flat / Round) | ASTM A770 | 2003 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Flat / Round) | AWS D1.5 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Flat / Round) | AWS D1.6 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Flat / Round) | ASTM B557 | 2015 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Pipe) | AWS D1.6 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Pipe) | ASTM A370 | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Pipe) | API 1104 | 2021 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Pipe) | AWS D1.5 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Pipe) | IS 1608-1 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Pipe) | IBR | 1950 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Strain Wire) | ASTM A1061 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Strain Wire) | IS 14268 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (TMT Coupler) | IS 16172 | 2014 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (TMT Coupler) | ISO 15835-2 | 2019 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (TMT) | IS 1786 | 2008 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (TMT) | ISO 15630 Part-1 | 2019 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (TMT) | IS 9417 | 2018 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Weld Plate) | IS 3600-3 | 2018 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Weld Plate) | IS 3600-4 | 1984 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Weld Plate) | IS 7307-1 | 1974 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Weld Plate) | IS 7310-1 | 2019 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Weld Plate) | AWS D1.6 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Weld Plate) | AWS D1.5 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Weld Plate) | AWS D1.1 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Weld Plate) | AWS B4.0 | 2021 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Weld Plate) | ISO 4136 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Tensile Test (Weld Plate) | ASME BPVC Sec IX | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
T-Joint Fracture Test | ASME BPVC Sec IX | 2023 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Carbon Film Test | BS EN 1057 | 2006 | Yes | Chemical | Metals & Alloys | Qualitative
Case Depth Measurement (Microscopic Method) | IS 6416 | 2022 | Yes | Mechanical | Metallography Test | Quantitative
Case Depth Measurement (Microscopic Method) | ISO 3887 | 2017 | Yes | Mechanical | Metallography Test | Quantitative
Case Depth Measurement (Microscopic Method) | ASTM E1077 | 2014 | Yes | Mechanical | Metallography Test | Quantitative
Case Depth Measurement (Microscopic Method) | IS 6396 | 2000 | Yes | Mechanical | Metallography Test | Quantitative
Coating Thickness (Dualscope Method) | ISO 2178 | 2016 | Yes | Mechanical | Metallography Test | Quantitative
Coating Thickness (Dualscope Method) | ASTM B499 | 2016 | Yes | Mechanical | Metallography Test | Quantitative
Coating Thickness (Dualscope Method) | ASTM B244 | 2009 | Yes | Mechanical | Metallography Test | Quantitative
Coating Thickness (Dualscope Method) | ASTM D7091 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Coating Thickness (Dualscope Method) | ASTM E376 | 2019 | Yes | Mechanical | Metallography Test | Quantitative
Coating Thickness (Dualscope Method) | BS EN ISO 2361 | 1995 | Yes | Mechanical | Metallography Test | Quantitative
Coating Thickness (Dualscope Method) | IS 3203 | 2021 | Yes | Mechanical | Metallography Test | Quantitative
Coating Thickness (Dualscope Method) | IS 12554-1 | 1988 | Yes | Mechanical | Metallography Test | Quantitative
Coating Thickness (Dualscope Method) | IS 12554-2 | 1999 | Yes | Mechanical | Metallography Test | Quantitative
Coating Thickness (Dualscope Method) | IS 6012 | 1992 | Yes | Mechanical | Metallography Test | Quantitative
Coating Thickness (Dualscope Method) | IS 101 Part3 Sec2 | 1989 | Yes | Mechanical | Metallography Test | Quantitative
Coating Thickness (Microscopic C/S Method) | IS 3203 | 2021 | Yes | Mechanical | Metallography Test | Quantitative
Coating Thickness (Microscopic C/S Method) | ASTM B487 | 2020 | Yes | Mechanical | Metallography Test | Quantitative
Coating Thickness (Microscopic C/S Method) | ISO 1463 | 2021 | Yes | Mechanical | Metallography Test | Quantitative
Coating Thickness (Microscopic C/S Method) | IS 101 Part3 Sec2 | 1989 | Yes | Mechanical | Metallography Test | Quantitative
Coating Thickness (Strip off Method) | IS 6745 | 1972 | Yes | Mechanical | Metallography Test | Quantitative
Coating Thickness (Strip off Method) | ASTM A90 | 2021 | Yes | Mechanical | Metallography Test | Quantitative
Coating Thickness (Strip off Method) | IS 15961 | 2012 | Yes | Mechanical | Metallography Test | Quantitative
Coating Thickness (Strip off Method) | ISO 3892 | 2000 | Yes | Mechanical | Metallography Test | Quantitative
Coating Uniformity Test | IS 2633 | 1986 | Yes | Mechanical | Metallography Test | Qualitative
Density & Specific Gravity Test
Density Analysis
TMT Rib Area Analysis | IS 1786 | 2019 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Effective Case Depth Measurement (Microhardness Method) | IS 6416 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Effective Case Depth Measurement (Microhardness Method) | IS 6416 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Effective Case Depth Measurement (Microhardness Method) | ASTM F2328 | 2017 | Yes | Mechanical | Metallography Test | Quantitative
Effective Case Depth Measurement (Microhardness Method) | IS 6396 | 2000 | Yes | Mechanical | Metallography Test | Quantitative
Effective Case Depth Measurement (Microhardness Method) | ASTM E1077 | 2014 | Yes | Mechanical | Metallography Test | Quantitative
Ferrite Content (Ferritoscope Method) | ASTM A800 | 2020 | Yes | Mechanical | Metallography Test | Quantitative
Ferrite Content (Ferritoscope Method) | ISO 8249 | 2018 | Yes | Mechanical | Metallography Test | Quantitative
Grain Size Measurement (Comparison Method) | ISO 2624 | 1990 | Yes | Mechanical | Metallography Test | Qualitative
Grain Size Measurement (Hilliard Method) | ASTM E112 | 2013 | Yes | Mechanical | Metallography Test | Qualitative
Grain Size Measurement (Intercept Method) | ASTM E1382 | 2023 | Yes | Mechanical | Metallography Test | Qualitative
Holiday Detector Test | IS 13620 | 1993 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Inclusion Content Analysis | ASTM E45 | 2018 | Yes | Mechanical | Metallography Test | Qualitative
Inclusion Content Analysis | IS 4163 | 2021 | Yes | Mechanical | Metallography Test | Qualitative
Inclusion Content Analysis | ISO 4967 | 2013 | Yes | Mechanical | Metallography Test | Qualitative
Macro Etch Test | ASTM E340 | 2015 | Yes | Mechanical | Metallography Test | Qualitative
Macro Etch Test | ASTM E381 | 2022 | Yes | Mechanical | Metallography Test | Qualitative
Macro Etch Test (Fillet Weld) | ASME BPVC Sec-IX | 2023 | Yes | Mechanical | Metallography Test | Qualitative
Macro Etch Test (Tube to Tube-Sheet Joint) | ASME BPVC Sec-IX | 2023 | Yes | Mechanical | Metallography Test | Qualitative
Macroscopic Examination | ISO 17781 | 2017 | Yes | Mechanical | Metallography Test | Qualitative
Macroscopic Examination | IS 7307 | 1974 | Yes | Mechanical | Metallography Test | Qualitative
Macroscopic Examination | IS 3600-9 | 2022 | Yes | Mechanical | Metallography Test | Qualitative
Macroscopic Examination | IS 7310-1 | 2019 | Yes | Mechanical | Metallography Test | Qualitative
Macroscopic Examination | ISO 17639 | 2022 | Yes | Mechanical | Metallography Test | Qualitative
Macroscopic Examination | API 1104 | 2021 | Yes | Mechanical | Metallography Test | Qualitative
Macroscopic Examination | ASME BPVC Sec-IX | 2023 | Yes | Mechanical | Metallography Test | Qualitative
Macroscopic Examination | ASM Handbook Volume-9 | 2004 | Yes | Mechanical | Metallography Test | Qualitative
Macroscopic Examination | IBR | 1950 | Yes | Mechanical | Metallography Test | Qualitative
Microhardness Testing (Vickers / Knoop) | AWS D1.5 | 2020 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Microhardness Testing (Vickers / Knoop) | API 1104 | 2021 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Microhardness Testing (Vickers / Knoop) | ISO 4516 | 2002 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Microhardness Testing (Vickers / Knoop) | ASTM E384 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Microhardness Testing (Vickers / Knoop) | BS EN ISO 18203 | 2016 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Microhardness Testing (Vickers / Knoop) | ISO 9015-2 | 2016 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Microstructure + Grain Size Measurement
Microstructure Examination | IBR | 1950 | Yes | Mechanical | Metallography Test | Qualitative
Microstructure Examination | ASM Handbook Volume-9 | 2004 | Yes | Mechanical | Metallography Test | Qualitative
Microstructure Examination | IS 3600-9 | 2022 | Yes | Mechanical | Metallography Test | Qualitative
Microstructure Examination | IS 7310-1 | 2019 | Yes | Mechanical | Metallography Test | Qualitative
Microstructure Examination | ISO 17639 | 2022 | Yes | Mechanical | Metallography Test | Qualitative
Microstructure Examination | IS 7307 | 1974 | Yes | Mechanical | Metallography Test | Qualitative
Microstructure Examination | API 1104 | 2021 | Yes | Mechanical | Metallography Test | Qualitative
Microstructure Examination | ASME BPVC Sec-IX | 2023 | Yes | Mechanical | Metallography Test | Qualitative
Microstructure Examination | ASTM E3 | 2011 | Yes | Mechanical | Metallography Test | Qualitative
Microstructure Examination | ASTM E407 | 2007 | Yes | Mechanical | Metallography Test | Qualitative
| ISO 945-4 | 2019 | Yes | Mechanical | Metallography Test | Qualitative
| IS 7754 | 1975 | Yes | Mechanical | Metallography Test | Qualitative
| ASTM A247 | 2019 | Yes | Mechanical | Metallography Test | Qualitative
| ISO 945-2 | 2011 | Yes | Mechanical | Metallography Test | Qualitative
| ISO 945-1 | 2019 | Yes | Mechanical | Metallography Test | Qualitative
Microstructure Examination (Cast Iron) (Manual Method) | ISO 945-3 | 2016 | Yes | Mechanical | Metallography Test | Qualitative
Microstructure Examination (Cast Iron) (Image Analyzer)
Pencil Hardness Test | ASTM D3363 | 2022 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Pencil Hardness Test | IS 101 Part5 Sec1 | 1988 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Pencil Hardness Test | IS 14246 | 2013 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Phase Volume Fraction (Grid Method / Manual Point Count) | ASTM E562 | 2019 | Yes | Mechanical | Mechanical Properties of Metals | Quantitative
Phase Volume Fraction (Image Analyzer / Colour Separation) | ASTM E1245 | 2003 | Yes | Mechanical | Mechanical Properties of Metals | Qualitative
Wrapping Test
PU Foam Chloride + pH Test
PU Foam Compression Test
PU Foam Liquid Immersion Test
PU Foam Tensile Test
Fe Spectro 1 Element
Fe Spectro 2 Element
Fe Spectro 3 Element
Fe Spectro full | IS 9879 | 1998 | Yes | Chemical | Metals & Alloys | Quantitative
Fe Spectro full | ASTM E1086 | 2022 | Yes | Chemical | Metals & Alloys | Quantitative
Fe Spectro full | ASTM E415 | 2021 | Yes | Chemical | Metals & Alloys | Quantitative
Fe Spectro full | IS 8811 | 2018 | Yes | Chemical | Metals & Alloys | Quantitative
Fe Spectro full | ASTM E1999 | 2018 | Yes | Chemical | Metals & Alloys | Quantitative
Fe Spectro full | IS 15338 | 2003 | Yes | Chemical | Metals & Alloys | Quantitative
Fe Spectro full | JIS G1253 | 2013 | Yes | Chemical | Metals & Alloys | Quantitative
Fe Spectro full | LDM_01_03_Fe | 2020 | Yes | Chemical | Metals & Alloys | Quantitative
Fe Spectro full | ASTM E2209 | 2022 | Yes | Chemical | Metals & Alloys | Quantitative
Co Spectro full | LDM_01_03_Co | 2020 | Yes | Chemical | Metals & Alloys | Quantitative
Metal Purity check (Assay Check)
Non-Fe Spectro 1 Element
Non-Fe Spectro 2 Element
Non-Fe Spectro 3 Element
Non-Fe Spectro full | LDM_01_03_Ni | 2020 | Yes | Chemical | Metals & Alloys | Quantitative
Non-Fe Spectro full | ASTM E3047 | 2022 | Yes | Chemical | Metals & Alloys | Quantitative
Non-Fe Spectro full | LDM_01_02_Zn | 2020 | Yes | Chemical | Metals & Alloys | Quantitative
Non-Fe Spectro full | ISO 3815-1 | 2005 | Yes | Chemical | Metals & Alloys | Quantitative
Non-Fe Spectro full | LDM_01_03_Ti | 2020 | Yes | Chemical | Metals & Alloys | Quantitative
Non-Fe Spectro full | ASTM E2994 | 2021 | Yes | Chemical | Metals & Alloys | Quantitative
Non-Fe Spectro full | BS EN 15079 | 2015 | Yes | Chemical | Metals & Alloys | Quantitative
Non-Fe Spectro full | LDM_01_03_Cu | 2020 | Yes | Chemical | Metals & Alloys | Quantitative
Non-Fe Spectro full | ASTM E3061 | 2017 | Yes | Chemical | Metals & Alloys | Quantitative
Non-Fe Spectro full | JIS H1305 | 2007 | Yes | Chemical | Metals & Alloys | Quantitative
Non-Fe Spectro full | LDM_01_02_Al | 2020 | Yes | Chemical | Metals & Alloys | Quantitative

## Sample Preparation Master
Test Method | Test Method Sub-group | Invoice Case | Sample Preparation | Sample Preparation Charges
IS 1608-1 | Tensile Test (Flat / Round) |  | Round Bar ø5mm & R3.75mm
IS 1608-1 | Tensile Test (Flat / Round) |  | Round Bar ø10mm & R7.5mm
IS 1608-1 | Tensile Test (Flat / Round) |  | Round Bar ø14mm & R10.5mm
IS 1608-1 | Tensile Test (Flat / Round) |  | Round Bar ø20mm & R15mm
IS 1608-1 | Tensile Test (Flat / Round) |  | Flat Bar W12.5mm & R20mm
IS 1608-1 | Tensile Test (Flat / Round) |  | Flat Bar W20mm & R20mm
IS 1608-1 | Tensile Test (Flat / Round) |  | Flat Bar W25mm & R20mm
IS 1608-1 | Tensile Test (Flat / Round) |  | Flat Bar W40mm & R20mm
IS 1608-1 | Tensile Test (Flat / Round) |  | Round Bar ø14mm & R20mm (Gauge length 70 mm)- SG Iron
IS 1608-1 | Tensile Test (Flat / Round) |  | Round Bar ø8mm & R20mm (If ø <12 mm)(Gauge length 40 mm)- SG Iron
ISO 6892-1 | Tensile Test (Flat / Round) |  | Round Bar ø5mm & R3.75mm
ISO 6892-1 | Tensile Test (Flat / Round) |  | Round Bar ø10mm & R7.5mm
ISO 6892-1 | Tensile Test (Flat / Round) |  | Round Bar ø14mm & R10.5mm
ISO 6892-1 | Tensile Test (Flat / Round) |  | Round Bar ø20mm & R15mm
ISO 6892-1 | Tensile Test (Flat / Round) |  | Flat Bar W12.5mm & R20mm
ISO 6892-1 | Tensile Test (Flat / Round) |  | Flat Bar W20mm & R20mm
ISO 6892-1 | Tensile Test (Flat / Round) |  | Flat Bar W25mm & R20mm
ISO 6892-1 | Tensile Test (Flat / Round) |  | Flat Bar W40mm & R20mm
ISO 6892-1 | Tensile Test (Flat / Round) |  | Round Bar ø14mm & R20mm (Gauge length 70 mm)- SG Iron
ISO 6892-1 | Tensile Test (Flat / Round) |  | Round Bar ø8mm & R20mm (If ø <12 mm)(Gauge length 40 mm)- SG Iron
ASTM A370 | Tensile Test (Flat / Round) |  | Round Bar ø2.5mm & R2mm
ASTM A370 | Tensile Test (Flat / Round) |  | Round Bar ø4mm & R4mm
ASTM A370 | Tensile Test (Flat / Round) |  | Round Bar ø6.25mm & R5mm
ASTM A370 | Tensile Test (Flat / Round) |  | Round Bar ø8.75mm & R6mm
ASTM A370 | Tensile Test (Flat / Round) |  | Round Bar ø12.5mm & R10mm
ASTM A370 | Tensile Test (Flat / Round) |  | Flat Bar W6.25mm & R6mm
ASTM A370 | Tensile Test (Flat / Round) |  | Flat Bar W12.5mm & R13mm
ASTM A370 | Tensile Test (Flat / Round) |  | Flat Bar W40mm & R13mm
ASTM A370 | Tensile Test (Flat / Round) |  | Round Bar ø12.5mm & R25mm (Cast Iron)
ASTM A370 | Tensile Test (Flat / Round) |  | Round Bar ø20mm & R25mm (Cast Iron)
ASTM A370 | Tensile Test (Flat / Round) |  | Round Bar ø30mm & R50mm (Cast Iron)
ASTM A370 | Tensile Test (Pipe) |  | Flat Bar W6.35mm & R25.4mm (Longitudinal)
ASTM A370 | Tensile Test (Pipe) |  | Flat Bar W12.7mm & R25.4mm (Longitudinal)
ASTM A370 | Tensile Test (Pipe) |  | Flat Bar W19.05mm & R25.4mm (Longitudinal)
ASTM A370 | Tensile Test (Pipe) |  | Flat Bar W25.4mm & R25.4mm (Longitudinal)
ASTM A370 | Tensile Test (Pipe) |  | Flat Bar W38.10mm & R25.4mm (Transverse)
API 1104 | Tensile Test (Flat / Round) |  | Flat Bar W25mm (Full Section)
API 1104 | Tensile Test (Flat / Round) |  | Flat Bar W19mm & R25mm
ASTM F606 | Tensile Test (Flat / Round)
IS 1367-3 | Tensile Test (Flat / Round)
ISO 898-1 | Tensile Test (Flat / Round)
ASTM E345 | Tensile Test (Flat / Round) |  | Flat Bar W12.5mm & R19mm
ASTM E8 | Tensile Test (Flat / Round) |  | Flat Bar W6mm & R6mm
ASTM E8 | Tensile Test (Flat / Round) |  | Flat Bar W12.5mm & R12.5mm
ASTM E8 | Tensile Test (Flat / Round) |  | Flat Bar W40mm & R25mm
ASTM E8 | Tensile Test (Flat / Round) |  | Round Bar ø2.5mm & R2mm
ASTM E8 | Tensile Test (Flat / Round) |  | Round Bar ø4mm & R4mm
ASTM E8 | Tensile Test (Flat / Round) |  | Round Bar ø6mm & R6mm
ASTM E8 | Tensile Test (Flat / Round) |  | Round Bar ø9mm & R8mm
ASTM E8 | Tensile Test (Flat / Round) |  | Round Bar ø12.5mm & R10mm
IBR | Tensile Test (Flat / Round)
ASTM A770 | Tensile Test (Flat / Round) |  | Round Bar ø6.25mm
ASTM A770 | Tensile Test (Flat / Round) |  | Round Bar ø8.75mm & R6mm
ASTM A770 | Tensile Test (Flat / Round) |  | Round Bar ø12.5mm & R10mm
ASTM B557 | Tensile Test (Flat / Round) |  | Flat Bar W6.35mm & R6.35mm
ASTM B557 | Tensile Test (Flat / Round) |  | Flat Bar W12.7mm & R12.7mm
ASTM B557 | Tensile Test (Flat / Round) |  | Round Bar ø4.06mm & R4mm
ASTM B557 | Tensile Test (Flat / Round) |  | Round Bar ø6.35mm & R4.8mm
ASTM B557 | Tensile Test (Flat / Round) |  | Round Bar ø8.9mm & R6.35mm
ASTM B557 | Tensile Test (Flat / Round) |  | Round Bar ø12.7mm & R9.5mm
AWS D1.5 | Tensile Test (Flat / Round) |  | Round Bar ø12.5mm & R10mm
AWS D1.5 | Tensile Test (Flat / Round) |  | Flat Bar W25mm & R50mm
AWS D1.6 | Tensile Test (Flat / Round) |  | Flat Bar W20mm & R50mm
AWS D1.6 | Tensile Test (Flat / Round) |  | Flat Bar W25mm & R25mm
AWS D1.6 | Tensile Test (Flat / Round) |  | Flat Bar W40mm & R25mm
AWS D1.6 | Tensile Test (Flat / Round) |  | Round Bar ø4.78mm & R3.2mm
AWS D1.6 | Tensile Test (Flat / Round) |  | Round Bar ø6.4mm & R4.8mm
AWS D1.6 | Tensile Test (Flat / Round) |  | Round Bar ø8.9mm & R6.4mm
AWS D1.6 | Tensile Test (Flat / Round) |  | Round Bar ø12.7mm & R9.5mm
AWS D1.1 | Tensile Test (Flat / Round) |  | Flat Bar W20mm & R12mm
AWS D1.1 | Tensile Test (Pipe) |  | Flat Bar W12mm & R25mm
AWS D1.1 | Tensile Test (Pipe) |  | Flat Bar W20mm & R25mm
AWS D1.1 | Tensile Test (Weld Plate) |  | Round Bar ø6mm & R6mm
AWS D1.1 | Tensile Test (Weld Plate) |  | Round Bar ø9mm & R8mm
AWS D1.1 | Tensile Test (Weld Plate) |  | Round Bar ø12.5mm & R10mm
AWS D1.5 | Tensile Test (Weld Plate) |  | Flat Bar W25mm & R50mm
AWS D1.6 | Tensile Test (Weld Plate) |  | Flat Bar W12mm & R25mm (If ø> 50 mm)
AWS D1.6 | Tensile Test (Weld Plate) |  | Flat Bar W20mm & R25mm (If ø> 50 mm)
AWS D1.6 | Tensile Test (Weld Plate) |  | Flat Bar W25mm & R25mm (If ø> 50 mm)
AWS D1.6 | Tensile Test (Weld Plate) |  | Flat Bar W40mm & R25mm (If ø> 50 mm)
AWS B4.0 | Tensile Test (Flat / Round) |  | Round Bar ø3mm & R2.4mm
AWS B4.0 | Tensile Test (Flat / Round) |  | Round Bar ø4mm & R4mm
AWS B4.0 | Tensile Test (Flat / Round) |  | Round Bar ø6mm & R5mm
AWS B4.0 | Tensile Test (Flat / Round) |  | Round Bar ø9mm & R6mm
AWS B4.0 | Tensile Test (Flat / Round) |  | Round Bar ø13mm & R10mm
AWS B4.0 | Tensile Test (Weld Plate) |  | Flat Bar W25mm & R25mm (If T≥ 25 mm) Transverse
AWS B4.0 | Tensile Test (Weld Plate) |  | Flat Bar W38mm & R25mm (If T< 25 mm) Transverse
AWS B4.0 | Tensile Test (Weld Plate) |  | Flat Bar W25mm & R25mm (If T≥ 25 mm) Longitudinal
AWS B4.0 | Tensile Test (Weld Plate) |  | Flat Bar W38mm & R25mm (If T< 25 mm) Longitudinal
AWS B4.0 | Tensile Test (Pipe) |  | Flat Bar W13mm & R25mm
AWS B4.0 | Tensile Test (Pipe) |  | Flat Bar W20mm & R25mm
AWS B4.0 | Tensile Test (Pipe) |  | Flat Bar W25mm & R25mm
AWS B4.0 | Tensile Test (Pipe) |  | Flat Bar W38mm & R25mm
ISO 4136 | Tensile Test (Weld Plate) |  | Flat Bar W12mm & R25mm (If T≤2 mm)
ISO 4136 | Tensile Test (Weld Plate) |  | Flat Bar W25mm & R25mm (If T>2 mm)
ISO 4136 | Tensile Test (Pipe) |  | Flat Bar W6mm & R25mm (If ø≤ 50 mm)
ISO 4136 | Tensile Test (Pipe) |  | Flat Bar W12mm & R25mm (If 50<ø≤ 168.3 mm)
ISO 4136 | Tensile Test (Pipe) |  | Flat Bar W25mm & R25mm (If ø> 168.3 mm)
IS 3600-3 | Tensile Test (Weld Plate) |  | Flat Bar W12mm & R25mm (If T≤2 mm)
IS 3600-3 | Tensile Test (Weld Plate) |  | Flat Bar W25mm & R25mm (If T>2 mm)
IS 3600-3 | Tensile Test (Pipe) |  | Flat Bar W6mm & R25mm (If ø≤ 50 mm)
IS 3600-3 | Tensile Test (Pipe) |  | Flat Bar W12mm & R25mm (If 50<ø≤ 168.3 mm)
IS 3600-3 | Tensile Test (Pipe) |  | Flat Bar W25mm & R25mm (If ø> 168.3 mm)
IS 3600-4 | Tensile Test (Flat / Round) |  | Round Bar ø3.99mm & R4mm (Gauge length- 20 mm)
IS 3600-4 | Tensile Test (Flat / Round) |  | Round Bar ø5.64mm & R5mm (Gauge length- 28 mm)
IS 3600-4 | Tensile Test (Flat / Round) |  | Round Bar ø7.98mm & R8mm (Gauge length- 40 mm)
IS 3600-4 | Tensile Test (Flat / Round) |  | Round Bar ø11.28mm & R10mm (Gauge length- 56 mm)
IS 3600-4 | Tensile Test (Flat / Round) |  | Round Bar ø13.82mm & R13mm (Gauge length- 69 mm)
IS 3600-4 | Tensile Test (Flat / Round) |  | Round Bar ø15.96mm & R15mm (Gauge length- 80 mm)
IS 3600-4 | Tensile Test (Flat / Round) |  | Round Bar ø22.56mm & R23.5mm (Gauge length- 113 mm)
ASME BPVC Sec IX | Tensile Test (Weld Plate) |  | Flat Bar W19mm & R25mm
ASME BPVC Sec IX | Tensile Test (Pipe) |  | Flat Bar W19mm & R25mm
ASME BPVC Sec IX | Tensile Test (Flat / Round) |  | Round Bar ø4.78mm & R3mm
ASME BPVC Sec IX | Tensile Test (Flat / Round) |  | Round Bar ø6.35mm & R5mm
ASME BPVC Sec IX | Tensile Test (Flat / Round) |  | Round Bar ø8.89mm & R6mm
ASME BPVC Sec IX | Tensile Test (Flat / Round) |  | Round Bar ø12.7mm & R10mm
ASTM A327 | Charpy Impact Test (3 pcs) (ASTM) |  | 10 X 10 X 55 mm
ASTM A327 | Charpy Impact Test (Multiple) (ASTM) |  | 10 X 10 X 55 mm
ASTM E23 | Charpy Impact Test (3 pcs) (ASTM) |  | 10 X 10 X 55 mm
ASTM E23 | Charpy Impact Test (Multiple) (ASTM) |  | 10 X 10 X 55 mm
ASTM E23 | Izod Impact Test (IS/ISO) |  | 10 X 10 X 75 mm
API 1104 | Charpy Impact Test (3 pcs) (ASTM) |  | 10 X 10 X 55 mm
API 1104 | Charpy Impact Test (Multiple) (ASTM) |  | 10 X 10 X 55 mm
ASTM A370 | Charpy Impact Test (3 pcs) (ASTM) |  | 10 X 10 X 55 mm
ASTM A370 | Charpy Impact Test (Multiple) (ASTM) |  | 10 X 10 X 55 mm
ASTM A370 | Charpy Impact Test (3 pcs) (ASTM) |  | 7.5 X 10 X 55 mm
ASTM A370 | Charpy Impact Test (Multiple) (ASTM) |  | 7.5 X 10 X 55 mm
ASTM A370 | Charpy Impact Test (3 pcs) (ASTM) |  | 6.7 X 10 X 55 mm
ASTM A370 | Charpy Impact Test (Multiple) (ASTM) |  | 6.7 X 10 X 55 mm
ASTM A370 | Charpy Impact Test (3 pcs) (ASTM) |  | 5 X 10 X 55 mm
ASTM A370 | Charpy Impact Test (Multiple) (ASTM) |  | 5 X 10 X 55 mm
ASTM A370 | Charpy Impact Test (3 pcs) (ASTM) |  | 3.3 X 10 X 55 mm
ASTM A370 | Charpy Impact Test (Multiple) (ASTM) |  | 3.3 X 10 X 55 mm
ASTM A370 | Charpy Impact Test (3 pcs) (ASTM) |  | 2.5 X 10 X 55 mm
ASTM A370 | Charpy Impact Test (Multiple) (ASTM) |  | 2.5 X 10 X 55 mm
IS 1598 | Izod Impact Test (IS/ISO) |  | 10 X 10 X 75 mm
IS 1757-1 | Charpy Impact Test (3 pcs) (IS/ISO ) |  | 10 X 10 X 55 mm
IS 1757-1 | Charpy Impact Test (Multiple) (IS/ISO ) |  | 10 X 10 X 55 mm
IS 1757-1 | Charpy Impact Test (3 pcs) (IS/ISO ) |  | 7.5 X 10 X 55 mm
IS 1757-1 | Charpy Impact Test (Multiple) (IS/ISO ) |  | 7.5 X 10 X 55 mm
IS 1757-1 | Charpy Impact Test (3 pcs) (IS/ISO ) |  | 5 X 10 X 55 mm
IS 1757-1 | Charpy Impact Test (Multiple) (IS/ISO ) |  | 5 X 10 X 55 mm
IS 1757-1 | Charpy Impact Test (3 pcs) (IS/ISO ) |  | 2.5 X 10 X 55 mm
IS 1757-1 | Charpy Impact Test (Multiple) (IS/ISO ) |  | 2.5 X 10 X 55 mm
ISO 148-1 | Charpy Impact Test (3 pcs) (IS/ISO ) |  | 10 X 10 X 55 mm
ISO 148-1 | Charpy Impact Test (Multiple) (IS/ISO ) |  | 10 X 10 X 55 mm
ISO 148-1 | Charpy Impact Test (3 pcs) (IS/ISO ) |  | 7.5 X 10 X 55 mm
ISO 148-1 | Charpy Impact Test (Multiple) (IS/ISO ) |  | 7.5 X 10 X 55 mm
ISO 148-1 | Charpy Impact Test (3 pcs) (IS/ISO ) |  | 5 X 10 X 55 mm
ISO 148-1 | Charpy Impact Test (Multiple) (IS/ISO ) |  | 5 X 10 X 55 mm
ISO 148-1 | Charpy Impact Test (3 pcs) (IS/ISO ) |  | 2.5 X 10 X 55 mm
ISO 148-1 | Charpy Impact Test (Multiple) (IS/ISO ) |  | 2.5 X 10 X 55 mm
IS 3600-2 | Charpy Impact Test (3 pcs) (IS/ISO ) |  | 10 X 10 X 55 mm
IS 3600-2 | Charpy Impact Test (Multiple) (IS/ISO ) |  | 10 X 10 X 55 mm
IS 3600-2 | Charpy Impact Test (3 pcs) (IS/ISO ) |  | 7.5 X 10 X 55 mm
IS 3600-2 | Charpy Impact Test (Multiple) (IS/ISO ) |  | 7.5 X 10 X 55 mm
IS 3600-2 | Charpy Impact Test (3 pcs) (IS/ISO ) |  | 5 X 10 X 55 mm
IS 3600-2 | Charpy Impact Test (Multiple) (IS/ISO ) |  | 5 X 10 X 55 mm
IS 1599 | Bend Test (Flat) |  | 30 mm Width (T>3 mm)
IS 1599 | Bend Test (Flat) |  | 20 mm Width (T<3 mm)
ASTM E290 | Bend Test (Flat) |  | 38 mm Width
ASTM E290 | Bend Test (Flat) |  | 20 mm Width
ASTM E190
ISO 7438 | Bend Test (Flat) |  | 30 mm Width (T>3 mm)
ISO 7438 | Bend Test (Flat) |  | 20 mm Width (T<3 mm)
ASTM A370 | Bend Test (Flat) |  | 19 mm Width X 150 mm Length (T≤13 mm) Full Section or machined
ASTM A370 | Bend Test (Flat) |  | 25 mm Width X 150 mm Length (T>13 mm) Full Section or machined
ASTM A370 | Bend Test (Round) |  | Round Bar ø ≤38 mm (Full Section)
ASTM A370 | Bend Test (Round) |  | 25 mm Width X 13 mm Thk. (Round Bar ø >38 mm)
ASTM A370 | Bend Test (Weld) |  | 38.10 mm Width X 152.4 mm Length (Face & Root Bend)
ASTM A370 | Bend Test (Weld) |  | 10 mm Width X 152.4 mm Length (Side Bend)
ASME BPVC Sec IX | Bend Test (Weld) |  | 38.10 mm Width (Face & Root Bend)
ASME BPVC Sec IX | Bend Test (Weld) |  | 10 mm Width(Side Bend)
IBR | Bend Test (Flat) |  | 25.4 mm Width X 19.05 mm Thk.
IBR | Bend Test (Weld) |  | 38.10 mm Width
API 1104 | Bend Test (Weld) |  | 25 mm Width X 230 mm Length (T≤12.7 mm)(Face & Root Bend)
API 1104 | Bend Test (Weld) |  | 13 mm Width X 230 mm Length (T>12.7 mm)(Side Bend)
AWS D1.5 | Bend Test (Weld) |  | 10 mm Width (Side Bend)
AWS D1.5 | Bend Test (Weld) |  | 40 mm Width X 10 mm Thk. (Face & Root Bend)
AWS D1.1 | Bend Test (Weld) |  | 40 mm Width (Face & Root Bend)
AWS D1.1 | Bend Test (Weld) |  | 25 mm Width X 10 mm Thk. (Face & Root Bend) (ø ≤100 mm Pipe)
AWS D1.1 | Bend Test (Weld) |  | 40 mm Width X 10 mm Thk. (Face & Root Bend) (ø >100 mm Pipe)
AWS D1.6 | Bend Test (Weld) |  | Between 20 to 40 mm Width (T>40 mm) (Side Bend-Transverse)
AWS D1.6 | Bend Test (Weld) |  | 40 mm Width X 10 mm Thk.(T>10 mm) (Face & Root Bend-Transverse)
AWS D1.6 | Bend Test (Weld) |  | 40 mm Width X 10 mm Thk.(T>10 mm) (Face & Root Bend-Transverse)
AWS D1.6 | Bend Test (Weld) |  | 40 mm Width X 10 mm Thk.(T>10 mm) (Face & Root Bend-Longitudinal)
AWS B4.0 | Bend Test (Weld) |  | 19 mm Width X 10 mm Thk. (Side Bend-Plate & Pipe- Transverse)
AWS B4.0 | Bend Test (Weld) |  | 38 mm Width X 10 mm Thk. (T>10 mm) (Face & Root Bend- Transverse)
AWS B4.0 | Bend Test (Weld) |  | 40 mm Width X 10 mm Thk. (T>10 mm) (Face & Root Bend-Pipe- Transverse)
AWS B4.0 | Bend Test (Weld) |  | (Width+16 mm) Width X 10 mm Thk. (T>10 mm) (Face & Root Bend- Longitudinal)
IS 3600-5 | Bend Test (Weld) |  | 10 mm Thk. (Face bend & longitudinal )
IS 3600-5 | Bend Test (Weld) |  | 40 mm Width (Max.) X 10 mm Thk. (Side Bend)
IS 3600-5 | Bend Test (Weld) |  | 10 mm Thk. (Face & Root bend- Transverse )
IS 3600-7 | Bend Test (Weld) |  | 30 mm Width (min.)
API 1104 | Nick Break Test |  | 25 mm Width X 3 mm from each side X 1.6 mm in depth at the centre of the weld
IS 3600 Part-8 | Nick Break Test |  | 6 mm from each side at the centre of the weld
IBR | Nick Break Test |  | 20 mm Width X 10 mm Thk. X 5 mm in depth both side
AWS A4.3 | Diffusible Hydrogen Test |  | 25 mm Width X 12 mm Thk. X 40 mm Length
ASTM G47 | G47 Stress Corrosion Cracking (2XXX & 7XXX Al Alloys) |  | Round Bar ø = 3.17 mm
ASTM G48 | G48 (Method A) Ferric Chloride Pitting Test |  | 25 mm Width X 50 mm Length X 10 mm Thk.
ASTM G48 | G48 (Method B) Ferric Chloride Crevice Test |  | 25 mm Width X 50 mm Length X 10 mm Thk.
ASTM G48 | G48 (Method C) Critical Pitting Temperature Test (Ni-Cr Alloys) |  | 25 mm Width X 50 mm Length X 10 mm Thk.
ASTM G48 | G48 (Method E) Critical Pitting Temperature Test (SS) |  | 25 mm Width X 50 mm Length X 10 mm Thk.
ASTM G48 | G48 (Method A) Ferric Chloride Pitting Test |  | 50 mm Length (Pipe)
ASTM G48 | G48 (Method B) Ferric Chloride Crevice Test |  | 50 mm Length (Pipe)
ASTM G48 | G48 (Method C) Critical Pitting Temperature Test (Ni-Cr Alloys) |  | 50 mm Length (Pipe)
ASTM G48 | G48 (Method E) Critical Pitting Temperature Test (SS) |  | 50 mm Length (Pipe)
NACE TM0284 | HIC Hydrogen Induced Cracking (NACE TM0284) |  | 20 mm Width X 30 mm Thk. (Max.) X 100 mm Length
ASTM A262 | IGC A262 (Practice A) Oxalic Acid Etch Test (Austenite SS) |  | 25 mm width X 25 mm Length
ASTM A262 | IGC A262 (Practice B) FeSO4 - H2SO4 Test (Austenite SS) |  | 20 mm X 20 mm X 10 mm
ASTM A262 | IGC A262 (Practice C) HNO3 Test (Austenite SS) |  | 20 mm X 20 mm X 10 mm
ASTM A262 | IGC A262 (Practice E) Cu - CuSO4 H2SO4 Test (Austenite SS) |  | 25 mm width X 8 mm Thk X 75 mm Length (Min.) (Strip)
ASTM A262 | IGC A262 (Practice E) Cu - CuSO4 H2SO4 Test (Austenite SS) |  | 25 mm width X 8 mm Thk X 75 mm Length (Pipe sample If OD≤38 mm)
ASTM A262 | IGC A262 (Practice E) Cu - CuSO4 H2SO4 Test (Austenite SS) |  | 25 mm width X 8 mm Thk X 75 mm Length (Min.) (Strip)
ASTM A262 | IGC A262 (Practice F) Cu - CuSO4 50% H2SO4 Test (Austenite SS) |  | 25 mm width X 8 mm Thk X 75 mm Length (Pipe sample If OD≤38 mm)
ASTM G28 | IGC G28 (Method A) FeSO4 H2SO4 Test (Ni-Cr Alloy) |  | 25 mm width X 8 mm Thk X 75 mm Length (Pipe sample If OD > 38 mm)
ASTM G28 | IGC G28 (Method B) Mixed Acid Oxidizing Salt Test (Ni-Cr Alloy) |  | 20 mm X 20 mm X 10 mm
ASTM A763 | IGC A763 (Practice W) Oxalic Acid Etch Test (Ferrite SS) |  | 25 mm width X 25 mm Length
ASTM A763 | IGC A763 (Practice Z) Cu - CuSO4 16% H2SO4 Test (Ferrite SS) |  | 25 mm width X 8 mm Thk X 75 mm Length (Min.) (Strip)
ASTM A763 | IGC A763 (Practice Z) Cu - CuSO4 16% H2SO4 Test (Ferrite SS) |  | 25 mm width X 8 mm Thk X 75 mm Length (Pipe sample If OD≤38 mm)
ASTM A763 | IGC A763 (Practice Z) Cu - CuSO4 16% H2SO4 Test (Ferrite SS) |  | 25 mm width X 8 mm Thk X 75 mm Length (Pipe sample If OD > 38 mm)
IS 10461 Part-1 | IGC IS 10461-1 Nitric Acid Mass Loss (Huey Test) (Austenite SS) |  | 20 mm X 20 mm X 10 mm
ISO 3651 Part-1 | IGC ISO 3651-1 Nitric Acid Mass Loss (Huey Test) (Austenite and Duplex SS) |  | 20 mm X 20 mm X 10 mm
ISO 3651 Part-2 | IGC ISO 3651-2 (Method A) 16% H2SO4 CuSO4 Test (Ferrite, Austenite & Duplex SS) |  | 10 mm Width (Min.) X 6 mm Thk. X 50 mm Length
ISO 3651 Part-2 | IGC ISO 3651-2 (Method B) 35% H2SO4 CuSO4 Test (Ferrite, Austenite & Duplex SS) |  | 10 mm Width (Min.) X 6 mm Thk. X 50 mm Length
ISO 3651 Part-2 | IGC ISO 3651-2 (Method C) 40% H2SO4 CuSO4 Test (Ferrite, Austenite & Duplex SS) |  | 10 mm Width (Min.) X 6 mm Thk. X 50 mm Length
ISO 3651 Part-3 | IGC ISO 3651-3 (Low Cr Ferritic SS) |  | 20 mm X 20 mm X 10 mm
ASTM A923 | SSC Sulphide Stress Corrosion (NACE TM0177) |  | 25 mm width X 25 mm Length
ASTM A923 | ASTM A923 (Method C) Ferric Chloride Corrosion Test (Duplex SS) |  | 25 mm Width X 50 mm Length
ASTM A923 | ASTM A923 (Method C) Ferric Chloride Corrosion Test (Duplex SS) |  | 50 mm Length (Pipe)
ASTM B154 | Mercurous Nitrate Test |  | 150 mm Length
ISO 196 | Mercurous Nitrate Test |  | 150 mm Length (Min.) (If ø < 75 mm)
ISO 196 | Mercurous Nitrate Test |  | Mutually agreement (If ø > 75 mm)
IS 2305 | Mercurous Nitrate Test |  | 150 mm Length (Min.) (If ø < 75 mm)
IS 2305 | Mercurous Nitrate Test |  | Mutually agreement (If ø > 75 mm)
NACE TM0177 | SSC Sulphide Stress Corrosion (NACE TM0177) |  | Between 2 & 10 mm Width and OD Between 10 & 100 mm for 1 mm Thk. Tube
ASTM A249 | Weld Decay Test

## Super Master
Under NABL | Group | Sub-Group | Qualitative / Quantitative | Invoice Master | Department Master
Yes | Chemical | Corrosion | Qualitative | Carbon by Combustion Method (Metals & Alloys) | Chemical Lab
No | Mechanical | Metals & Alloys | Quantitative | Courier Charges | Coatings & Thin-Film Lab
|  | Mechanical Properties of Metals |  | Dye Penetration Test | Corrosion Lab
|  | Metallography Test |  | EQT Processing Charges | Mechanical Department
|  | Paints & Surface Coating |  | Heat Treatment Cycle | Metallurgy Department
|  |  |  | N (Spectro) | Others
|  |  |  | Portable Spectro Analysis | Spectro Lab
Positive Material Identification (PMI)
Radiography Testing
Transportation Charges
Ultrasonic Testing